## Slide 1
MMG 232
Spring 2023
Lecture 1: Setting up an RNA-Seq experiment at UVM
Princess Rodriguez, PhD

## Slide 2: Learning Objectives
Understand how an RNA-Seq experiment is planned, and considerations taken by the experimenter

## Slide 3: Why?

## Slide 4: Caveat
Differential Gene Expression: quantitative evaluation and comparison of transcript levels across treatments or groups
Transcriptome is the collection of all transcript readouts present in a cell. RNA-seq can be used to explore and/or quantify the transcriptome of an organism, which can be utilized for many types of experiments:

## Slide 5: Caveat
Differential Gene Expression: quantitative evaluation and comparison of transcript levels across treatments or groups
Transcriptome assembly: building the profile of transcribed regions of the genome
  The recommendations for this type of experiment would differ slightly
Meta-transcriptomics

## Slide 6: Types of questions answered:
- What genes are differentially expressed between conditions?
- Are there any trends in gene expression over time or across conditions?
- Which groups of genes change similarly over time or across conditions?
- What processes or pathways are important for my condition of interest?

## Slide 7
Step 1
Step 2
Step 3: Data Analysis

## Slide 8: Experimental workflow before it gets sequenced
Isolate RNAs
Reads (R1 and R2) generated
Library build
Samples of interest
Illumina sequencing
versus
ONP
PMID: 27548618
1
2
3
4
5

## Slide 9: Experimental workflow before it gets sequenced
Isolate RNAs
Reads (R1 and R2) generated
Library build
Samples of interest
Illumina sequencing
versus
ONP
PMID: 27548618
1
2
3
4
5

## Slide 10: Biological Replicates
Condition 1
To detect Differentially Expressed Genes (DEGs) between groups we should have several samples, which are also known as replicates
Condition 2

## Slide 11: Biological Replicates
We are not talking about technical replicates
Assessing biological variation requires biological replicates
Three is the standard minimum
Yet I would recommend four (More is always better!)
Notes: biological replication is required if inference on the population is to be made, with three replicates being the minimum for any inferential analysis. For a proper statistical power analysis, estimates of the within-group variance and gene expression levels are required.

## Slide 12
PMID: 26813401
 | Replicates per group |  | 
 | 3 | 5 | 10
Fold change |  |  | 
2 | 87% | 98% | 100%
Probability of detecting DEGs
Notes: Probability of detecting DEGs

## Slide 13: Grouping of Replicates
What you want
What you get

## Slide 14
What you want
What you get
That spare comes in handy
Highly recommend especially with mice!
Grouping of Replicates

## Slide 15
A variable that influences or confounds the relationship between an independent and dependent variable
What causes this? Confounding variables

## Slide 16: What causes this? Confounding variables
Sometimes, its impossible for bioinformaticians to partition biological variation from technical variation, when these two sources of variation are confounded.
No amount of statistical sophistication can separate confounded factors after data have been collected.
…sometimes, these confounding variables are not in your control!
A well-planned experiment with an additional sample, does end up saving you time and money down the road

## Slide 17: Examples common in RNA-Seq
New technician is processing your samples and/or running the sequencer
Extracting RNA with different kits
Inappropriate multiplexing strategy
Sequencing on multiple different types of platforms

## Slide 18: ENCODE reported that gene expression was likely to follow a species-specific rather tissue-specific pattern
https://doi.org/10.1073/pnas.1413624111
https://doi.org/10.1073/pnas.1413624111

## Slide 19: ENCODE reported that gene expression was likely to follow a species-specific rather tissue-specific pattern
https://doi.org/10.1073/pnas.1413624111
https://doi.org/10.1073/pnas.1413624111

## Slide 22
Before accounting for batch effect
Samples grouped by animal

## Slide 23
After accounting for batch effect
Samples now grouped by tissue

## Slide 24: Experimental workflow before it gets sequenced
Isolate RNAs
Reads (R1 and R2) generated
Library build
Samples of interest
Illumina sequencing
versus
ONP
PMID: 27548618
1
2
3
4
5

## Slide 25: Working with RNA
RNA-Seq is dependent on the isolation of pure RNA
RNA is more labile than DNA so extra precautions should be taken

## Slide 26: Isolation of RNA
This kit comes everything you need for total RNA isolation including the gDNA eliminator spin columns

## Slide 27: The cheaper way to isolate RNA
The UVM VIGR core does not recommend as residual phenol will inhibit the library build and you cannot get rid of it. They will not sequence your samples if you use this mode of isolation!

## Slide 28: Other recommendations
Maintain RNA integrity with Ribolock (ThermoFisher: EO0381)
Once isolated, RNA is stored in the -80C

## Slide 29: Check purity with RNA bioanalyzer

## Slide 31: RNA Bioanalyzer requires Qubit
Need to take a Qubit reading not NanoDrop

## Slide 32: Experimental workflow before it gets sequenced
Isolate RNAs
Reads (R1 and R2) generated
Library build
Samples of interest
Illumina sequencing
versus
ONP
PMID: 27548618
1
2
3
4
5

## Slide 33: RNA composition
Kukurba, Mongomery (2015) Cold Spring Harb. Protoc. Gaida SM et al. (2015) Nat Comm 6:7045
RNA comes in many different flavors
Ribosomal-related RNAs:
  rRNA, tRNA, snoRNA (up to 90% of RNAs)
Protein-coding RNAs:
  mRNA
Regulatory RNAs:
  microRNAs, lncRNAs
messenger RNA

## Slide 34: Comprehensive transcriptome analysis

## Slide 35: Before building the libraries need to perform target enrichment
If rRNA is not removed, the majority of the final sequencing reads would be from rRNA and not mRNA
Therefore, it necessary to enrich for mRNA
Two common strategies:
  Poly A+ selection = mRNA only
  rRNA depletion = mRNA + other species

## Slide 36: Poly-A versus rRNA depletion?
For differential gene expression, most enrich using Poly(A)+
However:
  If you are aiming to obtain information about long non-coding RNA’s perform ribosomal RNA depletion
  Bacterial mRNAs are also not poly-adenylated

## Slide 37: Strandedness
Another consideration is whether to generate strand-preserving libraries
  Libraries can be stranded or unstranded
The implication of stranded libraries is that you could distinguish whether the reads are derived from forward or reverse-encoded transcripts

## Slide 38: Strandedness
Red = + strand
Blue = - strand

## Slide 39: RNA-seq Library build steps
Kukurba, Mongomery (2015) Cold Spring Harb. Protoc. Gaida SM et al. (2015) Nat Comm 6:7045
Isolate RNA
RNA species diversity
target enrichment
cDNA conversion /
PCR amplification

## Slide 40: Library Prep steps

## Slide 41: Library Prep steps continued

## Slide 42: Common mistakes during library build
Addition of adapters and unique barcodes
Number of PCR cycles
Notes: (temp, drying)

## Slide 43
Addition of adapters and unique barcodes
Number of PCR cycles
Ampure XP beads usage
Common mistakes during library build
Notes: (temp, drying)

## Slide 44: Common mistakes during library build
Addition of adapters and unique barcodes
Number of PCR cycles
Ampure XP beads usage
RNA fragmentation
Notes: (temp, drying)

## Slide 45: Experimental workflow before it gets sequenced
Isolate RNAs
Reads (R1 and R2) generated
Library build
Samples of interest
Illumina sequencing
PMID: 27548618
1
2
3
4
5

## Slide 46: Two main approaches in NGS: short-read vs long-read

## Slide 47: Second Generation Sequencing
Typical characteristics:
  Reads are short (100-300bp)
  Quality of bases decreases as the length of the read increases
  Includes HiSeq, NextSeq, NovaSeq platforms
  Run Time varies but can be up to > 48hrs
  Maximum Output is ~25 to 400 million reads per lane

## Slide 48: Illumina/Solexa pros/cons
Pros
Most library protocols are compatible with the Illumina system
Highest-throughput of all platforms
Can sequence fragmented DNA
  FFPE samples
Cons
Clustering across flow cell must be tightly controlled
Overloading can result in poor sequence quality
Low complexity samples must be mixed with PhiX to generate library diversity

## Slide 49: Third Generation Sequencing
Typical characteristics:
  No amplification step – single molecule
  Long (1,000bp+) sequence reads
  Real-time monitoring of nucleotide incorporation
  Reads the nucleotide sequence at the single molecule level
  Often associated with nanopore technology

## Slide 50: Oxford Nanopore Technology (ONT) sequencing
Sequencers can be pocket-sized, USB connectable, cost $150 to $1,000
Generates incredibly long reads: read length are typically between 10,000bp & as long as 1,000,000 bp!
Notes: https://nanoporetech.com/about-us/news/longer-and-longer-dna-sequence-more-two-million-bases-now-achieved-nanopore

## Slide 51: Modifications to RNA
…are lost during the reverse transcription step whereby RNA is converted back to cDNA in order to be sequenced
This strips all edited bases and epigenetic information from the molecules
TGS has emerged as a promising alternative to genome-wide map of RNA modifications.

## Slide 52: ONP pros/cons
Pros
Fast run times – takes a few hours
Cheap
No need for fluorescent nucleotides since it uses semi-conductor technology
Cons
High error/ lower per read accuracy
No clinical applications yet, but high potential

## Slide 53: Sequencing Options
Illumina Sequencing options:
Length of sequence (up to 300 bases)
Paired-end (PE) or single-end (SE)
DNA FRAGMENT
PE | 50
PE | 100
SE | 50
SE | 100

## Slide 54: Single-end vs paired-end
Single-end
Paired-end
cDNA
Fragment
What you get from VIGR:
Single-end: ONE fastq file per sample
Paired-end: TWO fastq files per sample

## Slide 55: What is the Advantage of Longer and PE Reads?
Reads mapping to junctions
  With longer reads we will have more reads spanning exons
  Isoforms or distinguishing paralogs
Paired end reads
Knowing both ends of a fragment and an approximation of fragment size helps to determine the transcript from which it was derived.

## Slide 56: When does SE vs PE matter?
If your considering studying:
  long non-coding RNAs
  De novo transcriptome assembly
  Alternative splicing
    Alternative RNA splicing is a process during gene expression that allows a single gene to produce many transcripts

## Slide 57: Alternative Splicing
5 of 45
Alternative splicing increases the biodiversity of proteins that can be encoded by the genome.
In humans, ~95% of multi-exonic genes are alternatively spliced
Alternatively spliced exons yield three different protein isoforms

## Slide 58: Other NGS terms

## Slide 59: Other NGS terms
Read: A raw sequence that comes from a sequencing machine.
Sequencing depth: total number of sequences, reads, or bp generated in a single experiment

## Slide 60
PMID: 26813401
 | Replicates per group |  | 
 | 3 | 5 | 10
Fold change |  |  | 
2 | 87% | 98% | 100%
Sequencing depth (millions of reads) |  |  | 
3 | 19% | 29% | 52%
10 | 33% | 51% | 80%
15 | 38% | 57% | 85%
Notes: Probability of detecting DEGs

## Slide 61: Other NGS terms
Read: A raw sequence that comes from a sequencing machine.
Sequencing depth: total number of sequences, reads, or bp generated in a single experiment
Coverage: Total number of bases generated per size of the genome sequences
  What does it mean if someone says they want 15X coverage?

## Slide 62: NGS Sequencing Terminology
Insert Size
length
0
600
200 400
insert size
Sequence Coverage
0 1 2 3 4 5 6 7 8 9 10 11 12
Base coverage by sequence
6X

## Slide 63
In Summary, to quantify Differential Gene Expression
Read length: 50 to 100 bp
Paired vs single end: Single end (cheaper)
Number of reads: > 15 million per sample
Replicates: 3 biological replicates minimum

## Slide 64: What you want to do versus what you can afford
Service | Cost
RNA bioanalyzer | ~$60 for 12 samples
Qubit quant | ~$4 per sample
DNA bioanalyzer | ~$82 for 11 samples
Library build (if core does it) | ~$2800 for 12 samples
Library kit (if you do it) | ~$1600 for 12 samples
Sequencing | ~$2000 per lane
Total | ~$4900 OR $3700

## Slide 65: Time breakdown
Service | Time
RNA isolation | Time to collect samples (days to months) + two days
Library build (if core does it) | Can take up to a month
Library build (if you do it) | One week
Sequencing (HiSeq) | Can take up to a month

## Slide 67: Important considerations:
1. Number and type of **replicates**
2. Avoiding **confounding** variables
3. Avoiding (as much as possible) **batch effects**